## Enhancing Food Security and Resilience of Rural Communities Red Sea State in Eastern Sudan

### Bid documents

RED SEA STATE STATE SUAKIN LOCALITY

Rehabilitation Electricity Connections and Equipment’s in Suakin Landing Site – Suakin

locality

Feb. 2026

# المواصفات الفنية

### Specifications & Performance Requirements

General Provisions

Scope and Applications

These Specifications apply to the rehabilitation of electricity connections and equipment’s, supply all materials and tools for rehab electricity connections & equipment’s. to the details as specified below.

REHABILITATION OF ELECTRICITY CONNECTIONC & EQUIPMENTS IN SUAKIN FISH LANDING SITE IN SUAKIN LOCALITY

A. Bill of quantities for rehabilitation of electricity connections.

- Mobilization

Bill of Quantity 1-1 for moblization

| # | DESCRIPTION | QUANTITY | UNIT | UNIT PRICE SDG | TOTAL PRICE SDG |
| --- | --- | --- | --- | --- | --- |
| 1 | Mobilization to the site: Mobilization shall consist of preparatory work including, but not limited to, those necessary to the movement of personnel, equipment, supplies and incidentals to the project site in Suakin Fish Landing Site – Suakin locality. | 1 | JOB |  |  |
|  |  |  |  | Total of Bill No. 1-1 |  |

- Electricity works

| # | Items descriptions | Quantity | Unit | Unit Price SDG | Total Price SDG |
| --- | --- | --- | --- | --- | --- |
| 1 | In-wall wiring; used wires, Saudi-made التوصيل داخل الحوائط الاسلاك المستعمله سعودية الصنع |  |  |  |  |

| 2 | Supply, installation, and delivery of a complete Orient Indian-made ceiling fan; price includes removal of the old one. توريد وتركيب وتوصيل مروحه سقف اورينت هنديه الصنع كامله ويشمل السعر فك القديم | 6 | # |  |  |
| --- | --- | --- | --- | --- | --- |
| 3 | an exhaust fan شرحه ولكن مروحه شفط ويشمل السعر شرحه | 14 | # |  |  |
| 4 | Supply, installation, and connection of a complete 4-foot (40W) double LED light bulb. Price includes removal of the old bulb. توريد وتركيب وتوصيل لمبه 40( واط) 4قدم ال اى دى دبل كامله ويشمل السعر فك القديم | 10 | # |  |  |
| 5 | a false ceiling light for the office and bathroom. شرحه لمبه سقف مستعار بالمكتب والحمام ويشمل السعر شرحه | 12 | # |  |  |
| 6 | the socket is a complete 13 amp unit with a metal box. شرحه ولكن سوكت 13 امبير كامل مع العلبه حديد | 1 | # |  |  |
| 7 | 63 amp switch comes with the box. شرحه ولكن مفتاح 63 امبير مع العلبه |  |  |  |  |
|  | the distribution board has 6 circuit breakers and 63 amps. شرحه ولكن طبلون توزيع 6 سيركت بريكر 63 امبير | 1 | # |  |  |
|  | Supply of materials and washing and maintenance work for split air conditioner + wall fan maintenance (at the office) توريد مواد وعمل غسيل وصيانه لمكيف اسبلت +مروحه حائط صيانه (بالمكتب) | 1 | # |  |  |
|  | Energy-efficient light bulb with switch, 40 watts, for bathrooms لمبه اقتصاديه مع المفتاح 40 واط للحمامات | 10 |  |  |  |
|  |  |  | Total Bill of Electricity Work |  |  |

COST SUMMARY FOR REHAB ELECTRICITY CONNECTIONS AND  EQUIPMENTS

(Summary of Tender Price)

| Item | Description | Cost (Sudanese Pounds)/SDG |
| --- | --- | --- |
| 1 | Mobilizations |  |
| 2 | Electricity Works |  |
| 3 | Total amount of work |  |
| 4 | Vat amount |  |
| Total amount of tender |  |  |