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SOS Sahel Sudan
[bookmark: _Hlk53652780] North Kordofan  Program
)Sheikan locality)
Promoting conflict- affected community livelihood project in South/North  Kordofan state, Sheikan Locality.
Sheikan locality North Kordofan State  
منظمة الساحل – سودان – برنامج ولاية شمال كردفان 
مشروع تعزيز سبل كسب العيش للمجتمعات المتاثرة بالنزاع ولاية شمال كردفان
BID DOCUMENT
Supplying equipment for animals resources office in Sheikan Locality , North Kordofan State. 


























المواصفات الفنية
Specifications & Performance Requirements
General Provisions
Scope and Applications:
These Specifications shall apply to the supply of provide equipment for animal’s resources offices at Sheikan locality, in North Kordofan State, through promoting conflict- affected community livelihood project in North Kordofan State,
The works under this Contract comprises Supplying the details as specified below.
1.2 Clause Numbers
Unless otherwise stated, all clause numbers refer to the clauses in these Specifications.
1.3 Requirements of Specifications, Standards and Company Names:
The contractor shall fulfil all requirements and obligations under all Clauses of the Specifications. Neither the following Clauses of this Specification, any descriptions therein nor the quantities shall limit the obligations of the Contractor under the Conditions of Contract. Where items are not included in the Bill of Quantities for any such requirements or obligations, the cost of such requirements or obligations shall be deemed to be spread over all the items of the Bill of Quantities. All Sudanese, or other Standards mentioned herein shall be deemed to form part of this Specification. All references to such standards shall be to the latest small solar system unit and Office Equipment thereof unless otherwise stated. Where a specific Sudanese or other Standard is referred to in this Specification, another Standard will be acceptable, provided that it ensures a quality of solar unit , Office Equipment  and workmanship equal to or better than the Standard referred to. If the Contractor intends to use such alternative Standard, he/she shall notify the Sector coordinator thereof. submitting with his notice two (2) copies (in English or Arabic) of the proposed Standard, and shall not order any small solar system unit , Office Equipment  or perform any work unless and until he/she has obtained the Sector Coordinator's approval of such Standard. Company names,

1.4 Approval of Suppliers, Services, equipment and means 
All equipment and means to be provided shall be new and valid not used, 
1.5 Contractor's Work Programme
A programme for the performance of the works as a whole and showing the proposed construction of particular undertakings shall be submitted by the Bidders with his Bid. Pursuant to Clause  of the Conditions of Contract, the Contractor shall, within 1 day after acceptance of the Bid, draw up a work programme, showing in detail the order in which the various parts of the Works are to be implemented, with dates of commencement and completion and where necessary, intermediate stages of works and the dates thereof Invitation for Bids The programme shall, where required by the sector coordinator , be accompanied by sketches showing in details the different stages of the programme. After approval by the sector coordinator or project manager, the work programme shall be binding on the contractor. Changes in the programme may be implemented by the contractor only after prior approval to them has been obtained from the Sector Coordinator, which shall not be unreasonably withheld. The programme shall fully take into account and allow, in a methodical manner, for the need to coordinate procedures with other contracts being carried out in the area. The sector coordinator shall be entitled at any time to demand changes in the work programme as he deems necessary for the proper and expedient performance of the works.

A-Bill of Quantities for supplying equipment and means for animals resources office in Sheikan Locality , North Kordofan State:  

Bill NO: 1-1
	#
	DESCRIPTION
	QUANTITY
	unit
	UNIT PRICE SDG
	TOTAL PRICE SDG

	1
	Mobilization to site:
· Mobilization shall consist of preparatory work including, transportation of all needs 
هذا العمل يتم فيه  تجهيز ومراجعة وترحيل كل المعدات المطلوبة الي موقع التسليم.
	1
	JOB
	
	

	
	
	
	
	Total of Bill mobilization 
	

	#
	
DESCRIPTION
	QUANTITY
	UNIT
	UNIT PRICE SDG
	TOTAL PRICE SDG

	2
	Solar Energy System ,2 solar Pannel 590 W Jinko, Inventor 2.2 Kilo watt (Must or JSB or go green), Battery 200 Amp JSB. ,10 meters Caple 6mm, changeover Switch, Sect DC,2 Meters of Caple 16 mm, Accessories for Solar System, Stand Holder for 2 Plat Solar, Made in China.
نظام طاقة شمسية يتكون من عدد (2) شريحة حجم 590 واط ماركة جينكو ، أنفيرتر2.2 كيلو ماركة جي اس بي أو مست أو قوقرين ، عدد واحد بطارية طاقة شمسية حجم 200 أمبير ماركة جي اس بي انتاج جديد ،عدد 10 متر من كيبل مقاس 6 ملي متر ، مفتاح قلاب للطاقة الشمسية ، عدد 2 متر كيبل مقاس 16 ملي متر ، حامل ل عدد 2 شريحة طاقة شمسية حجم 590 واط ،صناعة صينية .  
	1
	PC
	
	

	3
	Computer Desk Top HP brand , RAM 8,Intel Core 13 , 1 Tira , Gen 13 ,Version 21H2 , Key board Arabic &English , made in China.
كمبيوتر مكتب ماركة أتش بي ، ذاكرة الوصول العشوائي 8 جيجابايت ، معالجات أنتل 13 ، الجيل الأحدث ، سعة التخزين  واحد تيرا ، لوحة مفاتيح عربي و أنجليزي ،  صناعة صينية )
	1
	PC
	
	

	4
	Water Cooler Dispenser ,stainless Steel dispenser ,Hot & Cold water  , Bottle Size 3 -5 Gallons  , work with Electricity.
مبرد مياه تحميل علوي (بارد ، فاتر ، ساخن ) سعة قارورة المياه ما بين 3 الى 5 جالون ، يعمل بالكهرباء .
	1
	PC
	
	

	5
	Office table (140X70 X90) cm, made in China
ترابيز مكتب فاخرة مصنعة من الخشب المضغوط ، صناعة صينية . 
	2
	PC
	
	

	6
	Office chairs high quality that made from steel ,fixed chairs without wheels &made in China .
كراسي مكتب مصنوعة من الأستيل جودة عالية وصناعة صينية 
	4
	PC
	
	

	7
	Upright Refrigerator  10 feet ,Brand (lebiher, sharp or LG.
ثلاجة  ليبهر أو ال جي أو شارب 10 قدم  (لبهر, شارب او ال جي)
	1
	PC
	
	

	8
	Plastic Water Barrels , size 55 Gallons  with cover ,blue color 
واحد برميل مياه سعة 55  جالون ، مصنوع من البلاستيك ، اللون أزرق . 
	1
	
	
	

	Total bill 


	






                                                   
Summary of Bill Quantities:

	No
	Title of Bill
	Amount
SDG

	1
	Bill NO: 1-1
	

	#
	Total Bill
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